June 21, 2002

Mr. Richard Bell 

Office of State Fire Marshal Code Enforcement

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE:
Camellia Gardens

P0220398

Bldg.#1 Classification

Dear Mr. Bell

The City inspector for the City of Slidell is questioning the classification for Bldg.#1.  We originally submitted it to you as an activity room.  After your review, it was classified as an Assembly Room and thus had to meet certain requirements of section 8.2.5.5 of the NFPA 101.  We have made design changes to meet these requirements.

The local Fire Marshal has visually inspected the building and verified these requirements, but the City Inspector wants to classify it as an atrium.  If it is classified as an atrium, a smoke ventilation system will be required.

We are asking you to re-review the attached drawings and determine if we are

using the correct classification.

Please call me with any questions that you may have.

Thank you,

Chuck Dammon

Vice President/Project Manager

