February 7,2002

Mr. Floyd Carwile

Office of State Fire Marshal 

Department of Public Safety and Corrections

5150 Florida Blvd.

Baton Rouge, Louisiana 70806

RE: Camellia Gardens/P0233508

Dear Mr. Carwile,

We have prior approval from you on Building #2, Building #3 & Building #6.

We are now asking for approval on Building #5.  Building #4 will be submitted at a later date.

Building #5 will have vertical piping in the attic, and will be protected by Miracle Vents as shown in the sketches with the calculations.

The riser closet will be heated with electric pump house heaters.  (See cut sheet).

Please call me with any questions you may have.

Thank you,

Chuck Dammon

VP/Project Manager

