December 4, 2001

Mr. Robert Hurley

Brice Building Company, Inc.

3516 Hessmer Ave.

Metairie, Louisiana  70002

RE:
06268 – Camellia Gardens

Dear Robert,

In response to your fax dated 11/30/01, copy attached, please note on the attached drawing that there are to be 1” expansion joints between buildings, two per slab.

If you require any further information, please let me know.

Sincerely,

Chuck Dammon

