December 2, 2002

Ms. Turner

Department of Health and Hospitals

Office of Public Health

VIA FACSIMILE

504-568-7974

RE:
Captain Sal’s Restaurant


3168 St. Claude

Dear Ms. Turner,

The following drain lines shall be air gapped:

Three compartments, prep sink in grading room, ice machine, bin, soft drink overflows and refrigerator condensation drains.

Floor drain trap seals subject to evaporation shall be of the deep-seal type of not less than a 4” (102 mm) water seal or shall be fed from an approved plumbing fixture or by means of an approved automatic priming device designed and approved for that purpose.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Chuck Dammon

VP/Project Manager

