May 8, 2001

Mr. Otis Ramke, Architect

Office of Fire Marshal

5150 Florida Blvd.

Baton Rouge, LA  70806

Fax:
(225) 925-4414

RE:
PO 221544; Singh Building (Discount Depot)

Dear Otis,

The Singh Building was originally designed for a restaurant and grocery.  The prospective leasee did not work out, and now the space to be occupied by the restaurant will be a future build out only, not a restaurant.  The walls separating the two areas (1) the wall between the former restaurant area and the store, and the wall between the same area and the storage room for the store, will be 1 hour rated with no windows.  Only underground plumbing and a couple of light fixtures will be installed in the build out side.  Any new construction in the build out will require fire marshal approval.

Please provide your review based on this information.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh

Attachment

