May 4, 2001
To:
Invited Contractors:

1. McDonald Construction

2. Miramon Construction

3. McMath Construction

RE:
Construct Food Store at Barkers Corner, Lee Road, north of Covington.

Gentlemen:

The following are answers to questions which have arisen:

1. How many tanks are existing which need to be removed?

(Two @ 4000 gallons and one @ 8000 gallons, and pumps.)

2. Does the general contractor run the work of the gas supplier?

(There is no gas supplier and no gas station in the contract.)

3. Capacity of grease trap?

(100 gallons)

4. Are new culverts to be installed?

(No, they are existing.)

5. Do we install door #6?

(No.)

6. Who has control and pays gas supplier?

(No gas in new project.)

7. Can walk-in cooler be proposed as alternate?

(Yes.)

8. There is no natural gas in kitchen?

(There is no natural gas in kitchen.  Provide a 2” schedule 40 pipe under new parking lot to ditch, ending at kitchen wall, for later use as gas line.)

9. (Panel number two will have enclosure only, no busses or breakers.  Run conduit but no wire in panel feeder, and no breaker in Panel P1 for #2.)

10. (Panel number three will be in the contract at same size as shown.)

11. (There will be no fuel conduits in slab, and no canopy over fuel area shown on drawings.)

12. (Allow $250.00/thousand for brick, owner will select.)

13. (Allowance for awning on exterior of building shall be $30.00/ft., installed.)

1. Mr. Chris Ducote (640-7291), Earth Works, has called in a price to accomplish the following:

2. Remove tanks and dispose $6,000.00

3. Remove all buildings, concrete, etc. from site $4,500.00

1. Furnish and install the following exterior pole mounted light fixtures, poles and underground circuit.

· Four each 500 watt high pressure sodium fixtures mounted on 25 ft. high standards, two at rear lot corner and one on each side of building front, 15 feet behind the front lot line, and five feet from the side lot lines.  Run 3 #10 conductors with ground to each fixture, in ¾ inch PVC conduit, below driveway slab

· Fixtures shall be GE Lucalux C536G60 208Volt, with 1000 watt lamps.  Fixtures shall each have photo electric cell.

· Poles shall be GE C690H35X.  Concrete base shall be 3ft X 3ft X 3ft deep, with anchor bolts to fit pole pattern.

· Provide two 20 amp 2 pole breakers in Panel #2, for lights.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh

