May 7, 2001
To:
Invited Contractors:

1. McDonald Construction

2. Miramon Construction

3. McMath Construction

RE:
Construct Food Store at Barkers Corner, Lee Road, north of Covington.

Gentlemen:

Additional comments on above referenced project:

1. The waste water treatment plant shall be 2 Ea. 1,000 gallon/day units.  (There is no plan at present time for a restaurant in the build out area).  The build out area will be on its own 1,000 gallon per day unit.

2. The grease trap is being reinstalled in the event that a restaurant is ever desired in the build out area.

3. Finish Schedule – change Base “PVC” to read “vinyl,” change floor in store and offices from ceramic tile to Quary Tile or Dial Tile “Vitre Stone” (owner choice). Allow $6.00 per square foot, installed.

4. There will be no openings (doors or windows) between store and build out area.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

EGD:clh
