Explanation of Drawings:

Drawing “C-2” Drainage Plan:

Dimension 75’ – 10 9/16” @ lower left corner is wrong.  It should read 107’ – 10 9/16” as shown on “C-4”.

Drawing does show 97’ of 12” pipe being installed in 75’ space.

This dimension was left over from the drawings before Mr. Singh changed to the smaller building.

Note:  This drawing was marked up to eliminate the gas pumps when Mr. Singh decided not to have gas pumps.  This was during the bid process.  We also deleted concrete and drainage at the south side and rear of the store as marked up.  This is what the contractor bid on.

The surveyor used this plan (“C-2”) to lay out the store in the wrong place.

Drawing “C-3”

Again, this drawing was marked up to show that the store would not have gas pumps.  It is laid out properly to show the three gas islands.  The dimension of 30’ is missing but scales correctly.

Other marking indicates later switch back to gas, with 1” and 1 ¼” conduits to the panel from checkout.

This drawing also reflects the restaurant being changed to a buildout area with no need for plumbing.

Drawing “C-4”

This is the concrete plan that provides dimensions for the store slab, driveways and pumps.  It has all the proper dimensions.

This is the plan used by the dirt (fill) contractor to put the new building slab fill in place.  He was then told to move it by the project foreman.


Note:  Markups on the drawings were made during construction.

