December 10, 2003

Mr. Ed Viswanathan, P.E.

Plan Review Dept.

1300 Perdido Street

City Hall 7E-06

New Orleans, Louisiana  70113

RE:
Permit # B-03005068


14207 Chef Menteur Hwy


Dong Phuong Bakery

Dear Sir,

Please be advised that the new service for the referenced building will consist of one 230V, 3-phase service.

This service will meet the conditions of article 230-2 “Number of Services”.  Article 230-71, “Maximum Number of Disconnects,” of the National Electrical Code, 1996 edition.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G (Pete) Dammon P.E.,

Attachments:
Dwg E1



Copy of your letter dated October 27,2003

cc:
Don Audibert/Design Contractors

