June 6, 2001

Braithwaite Construction Co., Inc

General & Electrical Contractors

3013 E. St Bernard Hwy.

Meraux, LA. 70075

Attn: Nikki Weber/Project Manager

Ms. Weber,

I am in receipt of your letter dated 06/06/01. After reviewing the addendum & the drawings, they clearly state what is to be done. All contractors who bid on the job had the same information that you had prior to bid time. 

It concerned me that you stated that no contractor could have foreseen this situation prior to bid time. I took the liberty to call around and found that they (the other bidders) had definitely visited the site and took elevation readings. I suppose that’s why they came in higher on their price at bid time.

On sheet S-1 section “A”, it states that the grade beam shall be 24” min. or to undisturbed grade with 95% compaction fill. You will have to bring in fill material (6” lifts) up to the new elevation and have 95% compaction. 

Also, the swale ditch and other low-lying areas are not in your contract. Your only responsibility is to install the fill to five feet beyond the slab all the way around on a slope. The parish will take care of the rest.

We will be happy to work with you in anyway possible but neither the parish nor we feel that this is a valid argument.

Sincerely,

Chuck Dammon

Project Manager

CC: Sky Lala
