December 10, 2001

Mr. Kevin Johnson/Sr. Building Plan Examiner

City of New Orleans/Dept. of Safety and Permits

1300 Perdido Street

City Hall – Room 7E06

New Orleans, Louisiana   70112

RE:
Permit: B-01005486

5043 W. St. Andrews St.


New Construction

Dear Kevin,

The following are answers to your letter dated November 27, 2001, copy attached.

1. Openings in the wall between the garage and residence will have 20 minute or equal doors.  CABO 1995-309.1.

2. The separation between the garage and residence will have ½ inch gypsum board applied to the garage side of wall.  CABO 1995-309.2

3. The plans show the option of a circular or straight driveway.  The straight driveway option was used.

Sincerely,

Edwin J. deMeritt, NCARB

