June 21, 2002

Travis Tisdale

St. Tammany Parish

Department of Engineering

21490 Koop Drive

Mandeville, La. 70471

Re:
Schaeffer’s Seafood Restaurant

Drainage System

Dear Mr. Tisdale,

This is to inform you of the change we are making to the above referenced project. We are changing the pipe size in the drainage system from 12” to 8”.  This will allow the same area for drainage.

Please call me with any questions you may have.

Thank you,

Chuck Dammon

Vice President/Project Manager

