February 14, 2000

Mr. Gene Bates, Architect

Fire Marshall Office

RE;
PO200012
Pentecost Baptist Church

Dear Mr. Bates

  As discussed with you on the telephone on Monday, we are asking that you approve the following change to the drawings that you approved for this project.

1. The existing hall walls are shown to have a layer of 5/8” fire rated gypsum board applied to the wall.  We ask that since we are adding a layer of 5/8” board to the other side of the wall, the new thickness of 1 1/8” on the far side and ½” on the hall side, be declared adequate.  The ceiling detail shown on the drawings will remain as shown.

  I appreciate your reconsideration of this matter.






Sincerely,






Emmett G (Pete) Dammon P.E.,

____________________

Ed DeMeritt  NCARB

Attachments

1. Approved drawings

2. Copy of review letter

plc/EGD

