July 18, 2000

Jean Carter

Architect Supervisor

Office Of the Fire Marshall

RE;
PO 171391 Pelican Pointe Apartments


Slidell, LA

Dear Jean;

  Following your meeting with Jim Bryan of the Bryan Construction Company, and my meeting with Jim this morning, I would like to submit figure 230-2K from the National Electrical code handbook (1996), as being the proposed method of feeding the buildings with two services.

  Also, I am including a sketch showing how these services will be routed to the building.  This is typical of the 12 apartment buildings of the complex.

  As stated in your letter to Jim Bryan, an additional metered service will be required for the house services.

  If this communique is deemed sufficient to finalize the approval of this services arrangement, please advise Jim Bryson as soon as possible.

Sincerely,

Emmett G (Pete) Dammon P.E.,

Attachments


Article 230

EGD/plc

