February 14, 2000

Otis V. Ramke Jr.  Architect

Office of State Fire Marshall

5150 Florida Ave

Baton Rouge, LA  70809

RE;
PO174000, Historical Fritchie-Salmen House

Dear Otis;

1. During an inspection of the project the local Fire district inspector noted that the existing historic doors to the house at the main entrance, and one other in the path of travel, open opposite from the required direction in a means of egress.  The owner ask that you approve the doors to remain as is, with no panic hardware, due to their historic value in that location.

2. The owner ask that a variance be allowed to install a lift to use at the main entrance for handicap, in lieu of a ramp.  The difference in height of 5ft would require a ramp too long to fit the premise. The lift will be electric with ADA handicap rails to protect the customer.  It will be operated by a doorman, trained in the use of the lift.

3. In the original review, you marked the total capacity as being over 400 persons.  The owner wished to limit the capacity too a posted unit of 299 persons, and eliminate the requirement for a fire alarm system, item #7 of your letter.

  I would appreciate your favorable response to these items.







Sincerely,







Emmett G (Pete) Dammon P.E.,

Attachments

1. Copy of review letter

2. Drawing of proposed items

plc/EGD

