January 12, 2000

TO:
Mr. William Jensen


Office of Fire Marshall 


5150 Florida Blvd.


Baton Rouge, LA 70806 

RE;
PO 166698
Renovation to Wellness Center




Amended F.M.




Letter dated 12/29/99

Dear Mr. Jensen:

   Item #4 of my letter to you dated 12/23/99 was further discussed at a meeting with Chris Kaufman, Fire district No.1 on 1/11/2000.

   Chris felt and I agree, that hand rails should be installed along side the ramp to prevent tripping, thus a hand rail 36 inches high will be mounted on the flat working surface next to the sloped walkway, preventing a person from stepping to or from the sloping walkway, and tripping.

   I have enclosed a photo of the ramp and working surface the treadmills sit on.  As previously stated, there is a treadmill area across the aisle for use by anyone that is handicapped.

   Chris Kaufman thought it best that we ask your approval on this matter.






Sincerely,






Emmett G (Pete ) Dammon P.E.,

Edwin DeMeritt, NCARB

Attachments;


Photo of Area

plc/EGD

