1. February 7, 2000

2. Mr. Don P. Zeringue, Architect

Office of Louisiana Fire-Marshall

5150 Florida Ave.

Baton Rouge, LA  70846

RE;
P0166171, Mr. Sandwich

Dear Mr. Zeringue;

3. The project design drawings approved by your office-included handicap facilities in the toilet located in the truck maintenance building.  There are also handicap restrooms located in the main building.  The owner wishes to ask for a variance on the toilet in the maintenance shop, not to require that it be handicap equipped.  There is ample room in the shop so that if the need arises in the future, one wall can be moved out to accomplish the task of working the toilet handicap required.

4. The handrails on the rear stair to the 2nd floor (an employee only stair) measures 32” in height above the leading edge of the tread surface, as compared with the required 34”.  The owner asks that the 32 inches be allowed.  Ninety percent of the employees are women and the lower handrail should suit them better.

  Please review this matter and provide us with your determination.

  The local inspector indicated that you might be able to grant this waiver.







Sincerely,







Emmett G (Pete) Dammon P.E.,

Edwin DeMeritt

Attachment

     Reduced size drawing A-1


Copy of inspection report by Woody Lovill

Cc

  Darryl Warner

plc/EGD

