February 18, 2000

TO:
Tina Penten


PMA Property Management


1377 Corporate Blvd.


Slidell, LA  70458

RE;
Seabreeze apartments


4716., 4718., 4720., & 47202


Pontchartrain Drive, LA  70458

  I visited the site of the apartments with Mr. Penten, who explained that the balconies located at each individual unit on the upper (3rd level) were in poor shape, and really not used by the people who lease the apartments.  Mr. Penten stated that he would like to remove these balconies and replace the door that presently leads to the balcony with a window that meets the opening requirements of the life safety codes. 

  The apartments (ten per bldg.) consists of a ground floor garage, second floor living area with an open balcony that runs from end to end of the building and has stairs at each end to the ground, and interior stairs in each apartment that connect the floors to each other.

  I explained that the code requires that bedrooms each have a window that can be reached with a ladder, and the window when opened has to have an open area of 5 square ft.

  Because this is a commercial complex, a change of this significance will probably require a permit and sending a sketch and letter to the fire Marshall for approval.






Sincerely,






Emmett G (Pete) Dammon P.E.,

plc/EGD

