March 10, 2003

Mr. Marvin Butler

Slidell Housing Authority

1250 Martin Luther King

Slidell, LA. 70458

RE:
Replacement Windows For Washington Heights & Country Gardens

Slidell, Louisiana

Dear Mr. Butler,

The Contractor and I have researched the windows and screens for this job, and following are the new figures:

The original contract was for $286,532.00. If we use the general aluminum #1900 series window that is comparable to Quaker window and is installed with the security screens, we will save approximately $21,009.00. Please see the attached sheets from the contractor.

If we use the Quaker windows and security screens it will increase the job buy $75,039.00.

We recommend that the Contractor be allowed to use the General Aluminum windows with the security screens for both sites and have the reduction reflected in the contract amount.

Please call me at your earliest convenience

Sincerely,

Chuck Dammon

Vice President & Project Manger

chuckdammon@yahoo.com

