April 10, 2002

Mr. Danny Brown

McMath Construction

215 St. Ann Drive, Ste. 3

Mandeville, Louisiana  70471

RE:
S.T.A.R.C./New Daycare Facility

Dear Mr. Brown,

Please provide STARC with a revised price to add the following beams to the portico.  During installation, it became obvious that it should be strengthened to eliminate possible flexing of the roof during high winds.


Add the following members:

1. Add two 4” round pipe columns in wall of building to support 4” x 14” truss beam above wall.  Add these at locations shown on drawing.

2. Add one each 4” x 8” x ¼” rectangular tube at 1/3 points of portico roof (two places) position to connect inside 14” main beam section and below the 6” roof purlins.  Run from crown of roof to eave.  Bevel bottom at outside purlin.

3. Add a 4” x 14” x ¼” member to form a Gusset in the front main 4” x 14” truss.
I appreciate your help on this matter.  If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Attachment:
Drawing

cc:
Steve Duvernay/S.T.A.R.C.


Mary Morgan/S.T.A.R.C.
