June 3, 2002

Mr. John Moore, Architect

Office of State Fire Marshal

5150 Florida Boulevard

Baton Rouge, Louisiana  70806

RE:
PO236506


St. Tammany Assoc. for Retarded Citizens


Viola Street @ Ceres Street, Mandeville, Louisiana

Dear Mr. Moore,

Pursuant to our telephone conversation last week, I have run the calculations, which do show the attic of the facility to have a temperature of at least 40( F when the outside temperature is 20( or higher.

I ask that the fire suppression system review letter be amended to not require additional heating of the attic.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Attachments:
Fire Suppression System Letter



Calculations

EGD:clh

