September 30, 2002

Mr. Steve Duvernay

S.T.A.R.C.

1541 St. Ann Place

Slidell, Louisiana  70460

RE:
S.T.A.R.C. Building in Mandeville

Dear Steve,

As a result of our meeting last week with Danny Brown and Scott Morrison, Scott was to get the price of a static drive kit replacement for the A/C unit that serves the southwest corner of the S.T.A.R.C. building in Mandeville.  As the A/C salesperson who sold him the unit was out of town, he was to get the catalogue cost and report that, with the possibility that the price may actually be less (item #5 in the enclosed letter from Slidell Refrigeration.)

Item numbers 1 through 4 in the letter were completed when the new kitchen equipment layout was installed, having been approved by your at that time.

As the problem with the A/C delivery to the southwest corner of the building is being taken care of by this change by Slidell Refrigeration, I recommend that McMath Construction be paid for the items in the letter, and for the balance of their contract funds.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Attachments:
Letter from Slidell Refrigeration dated September 30, 2002

cc:
Danny Brown/McMath Construction


Scott Morrison/Slidell Refrigeration

