June 15, 2005

Mr. James Waite

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA  70806

RE:
PO294047


STARC

Dear Mr. Waite,

Please be aware that the following UL Assemblies are being used for the one-hour hallway for the referenced project. (Please refer to your review latter, item 3, copy attached).  The floor-ceiling assembly is UL L524 and the wall assembly is UL U404.

This information was inadvertently omitted from the drawings.  I apologize for any inconvenience and appreciate your help with this matter.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

