January 18, 2000

TO:
John Shires


Director of Engineering


St. Tammany Parish


P.O. Box 628


Covington, LA  70434

RE;
Jan & Leonard Brown Residence, install


Sub-surface drainage in ditch.

Dear Mr. Shires;

  On March 11th 1999, Jan Brown wrote to you asking permission to install sub-surface drainage at their residence, 613 Edgewood Dr. in Slidell.

  The pipes had been previously installed but the inlets had to be changed, as they were constructed with PVC.

  The change has been made, and the elevations are as shown on the attached drawing.  The system has been in place about eight (8) months and no problems have occurred in the drainage of the street.

  I ask that the system be approved.






Sincerely, 






Emmett G (Pete) Dammon P.E.,

plc/EGD

