December 16, 2004
Ms. Amanda Long
Braithwaite Construction Co.

3013 E. St. Bernard Hwy.

Meraux, Louisiana  70075

RE:
Textron ASV Facility, New Orleans
Dear Amanda,

I spoke with the Wheelabrator project manager, Trever Barns, regarding the paint booth fire protection.  He told me that the booths do not come with fire protection, it has to be locally designed and installed.

From what I saw in the Fire Marshal’s letter, we will have to provide fire protection in the four booths, but not the general facility.  Once I talk to your selected fire protection company, we can decide whether a Halon system will be justified, or if we should bring water to the building for fire protection.

We are also pursuing the design for extending the natural gas line to provide gas for the paint booth heaters.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

