
SECTION 15325PRIVATE 


SPRINKLER SYSTEMS

1 PART 1   GENERAL

.1
SECTION INCLUDES




A.
Wet‑pipe sprinkler system.




B.
System design, installation, and certification.


.2
PRODUCTS FURNISHED BUT NOT INSTALLED UNDER THIS SECTION




Not Used.


.3
PRODUCTS INSTALLED BUT NOT FURNISHED UNDER THIS SECTION




Not Used.

.4
RELATED SECTIONS




A.
Section 15190 ‑ Mechanical Identification.



B.
Section 15242 ‑ Vibration Isolation.
.5
REFERENCES




A.
NFPA 13 ‑ Installation of Sprinkler Systems.

.6
SYSTEM DESCRIPTION




A.
System to provide coverage for entire building complex. 




B.
Provide system to NFPA 13 ordinary hazard.




C.
Sprinkler system contractor 


.7
SUBMITTALS




A.
Submit under provisions of Section 01300.




B.  Shop Drawings: Indicate hydraulic calculations, detailed    pipe layout, hangers and supports, components and       





accessories.  Indicate system controls.



C.
Product Data: Provide data on sprinkler heads, valves,        and specialties, including manufacturers catalogue             information.  Submit performance ratings rough‑in details,     weights, support requirements, and piping connections.



D.
Submit shop drawings product data hydraulic
 calculations      to.  Fire Marshall and Owner’s insurance underwriter for       approval. Submit proof of approval to Architect/Engineer.



E.
Samples:
Submit one of each style of sprinkler head            specified.



F.
Manufacturer's Certificate: Certify that system has been      tested and meets or exceeds code requirements.
.8
PROJECT RECORD DOCUMENTS




A.
Submit under provisions of Section 01700.




B.
Record actual locations of sprinkler heads and deviations     of piping from drawings.  Indicate drain and test              locations.

.9 OPERATION AND MAINTENANCE DATA




A.
Submit under provisions of Section 01700. 




B.
Maintenance Data: Include components of system,
 servicing     requirements, Record Drawings, inspection data, replacement     part numbers and availability, and location and numbers of     service depot.

.10 QUALITY ASSURANCE



A.
Perform Work in accordance with NFPA 13.



B.
Equipment and Components: Bear UL label or marking.



C.
Maintain one-copy copies of document on site.

.11 QUALIFICATIONS



A.
Installer:  Company specializing in performing work of this Section with minimum three years experience.



B.
Design modifications to sprinkler system drawings under direct supervision of a Professional Engineer experienced in design of this work and licensed at the place where the Project is located in the State of Louisiana.

.12 REGULATORY REQUIREMENTS



A.
Hydraulic Calculations, Product Data, Shop Drawings:
 Bear stamp of approval of authority having jurisdiction.  

.13 DELIVERY, STORAGE, AND HANDLING



A.
Deliver, store, protect, and protect products to site under provisions of General Conditions.



B.
Store products in shipping containers and maintain in place until installation.  Provide temporary inlet and outlet caps.  Maintain caps in place until installation.


.14
EXTRA MATERIALS



A.
Furnish under provisions of Section 01700.



B.
Provide extra sprinkler heads under provisions of NFPA 13.



C.
Provide suitable wrenches for each head type.

2 PART 2   PRODUCTS




Not Used.

3 PART 3   EXECUTION

.1
PREPARATION



A.
Coordinate work of this Section with other affected work.

.2
INSTALLATION



A.
Install equipment in accordance with manufacturers instructions.



B.
Install buried shut‑off valves in valve box.  Provide post indicator.


D.
Locate fire department connection with sufficient clearance from walls, obstructions, or adjacent Siamese connectors to allow full swing of fire department wrench handle.



E.
Place pipe runs to minimize obstruction to other work.


F.
Place piping in concealed spaces above finished ceilings.
.3
SYSTEM SCHEDULE




Not Used.

.4
SPRINKLER HEAD SCHEDULE




Not Used.









END OF SECTION
PAGE  
1
Error! Main Document Only.

