Twin Oaks

Hattiesburg, Mississippi

1) Date of Inspection:
March 17, 2004

Twin Oaks

2) Building #24
3) Install hat channel, sheetrock and insulation

4) Install smoke detectors and light fixtures

5) Install all A/C lines and strap to studs

6) Complete all fascia, soffit and siding

7) Complete all stairs (railings/painting)

___________________________
Date:
____________________


Chuck Dammon

         VP/Project Manager

Twin Oaks

Hattiesburg, Mississippi

Date of Inspection:
March 17, 2004

Twin Oaks

Building #17

This building was inspected and appears to comply with the drawings.

Building #18

This building was inspected and appears to comply with the drawings.

Building #19

This building was inspected and appears to comply with the drawings.

Building #22

This building was inspected and appears to comply with the drawings.

Building #24

This building was inspected and appears to comply with the drawings.

___________________________
Date:
____________________


Chuck Dammon

         VP/Project Manager
