Twin Oaks

Hattiesburg, Mississippi

Date of Inspection:
March 3, 2004

Twin Oaks

Bldg. #20

1) Remove all water from first floor, spay for mold

2) Hook up A/C units

3) Firecaulk all wires and plumbing going through top plates and bottom plates and firewalls

4) Install hat channel and sheetrock

5) Complete wire hookup

6) Install soffit

7) Paint handrails

8) Install handrails on porches

9) Verify third floor can light is fire rated

Bldg. #19

1) Remove all water from first floor, spay for mold

2) Hook up A/C units

3) Firecaulk all wires and plumbing going through top plates and bottom plates and firewalls

4) Install hat channel and sheetrock

5) Complete wire hookup

6) Install soffit

7) Paint handrails

8) Install handrails on porches

9) Verify third floor can light is fire rated

10) Install water heater

11) Seal tub drains

Bldg. #9 (Reinspection)

1) Some places were noted to need fire caulking on the bottom plates – work is in progress to complete today

2) 80% Complete

1) Work on this building appears to comply with the drawings

Bldg. #10 (Reinspection)

2) Some places were noted to need fire caulking on the bottom plates – work is in progress to complete today

3) 80% Complete

4) Work on this building appears to comply with the drawings

___________________________
Date:
____________________


Chuck Dammon

         VP/Project Manager

