Twin Oaks

Hattiesburg, Mississippi

1) Date of Inspection:
March 9, 2004

Twin Oaks

2) Bldg. #18
3) Complete fire caulking in all holes, top plates, bottom plates, sheet rock penetration

4) Remove all water and bleach walls, floors and ceilings

5) Install hat channel and sheetrock

6) Install insulation

7) Complete siding

8) Paint railings

9) Hook up A/C units

10) Install soffit and overhang

11) Need strapping on waste vents on all floors

12) Verify all lights are fire rated on third floor ceiling

13) Paint all exterior

___________________________
Date:
____________________


Chuck Dammon

14)          VP/Project Manager

