LAKEWIND EAST APARTMENTS

EXTERIOR WALL COVERING

& MINOR WALL REPAIRS

07900

TECHNICAL SPECIFICATIONS

Sealants

In addition to the work of replacing damaged wall panels that have fallen or are loose, provide the following work to repair spot locations and reseal the surface of the existing.

1.01 SCOPE

A. Provide all labor, materials and equipment necessary to repair walls, and install an Elastomeric Coating System.

1.02 QUALITY ASSURANCE

A. Qualifications:

1. Contractor shall have a minimum of 10 years experience in work similar to the work being performed on this contract.

2. Contractor shall have factory-trained technician in charge of work, who has a minimum of 5 years experience in repair and installation of Elastomeric finishes on existing stucco finished on multi story buildings.

B. Design and Detailing:

1. General:

a. The exterior stucco, concrete or masonry walls shall be completely coated with minimum of 10 dry mil thickness of Elastomeric Coating.

2. Substrates:

a. Contractor to verify that substrates comply with system manufacturer’s requirements for type, tolerance, soundness of construction and conformance to contract documents.

b. Application of Elastomeric coating shall be to the following substrates when properly prepared:

1) Painted surfaces of concrete, stucco, masonry, brick.

c. Substrates other than those listed above to be approved by Engineers prior to coatings application.

1.03 SUBMITTALS

A. Product Data:  Submit manufacturers technical data for the system.  Include specifications, application instruction and test data, for each type of substrate coverage.

B. Mock up:

1. Apply coating to minimum 6’ x 6’ area of the actual job substrates in order to establish a standard of acceptance by the Engineer & Owner.

C. Warranty:

1. Submit system warranty as related to the project.

1.04  PRODUCT DELIVERY AND STORAGE

A. Deliver to job site all materials in unopened, undamaged containers, clearly marked and identified with manufacturer’s name and description of contents.

B. Store all products in a cool, dry place out of direct sunlight, protected from weather and other damage.  In addition, liquid materials shall be stored at a temperature not less than 40 degrees F at all times.

1.05  JOB CONDITION

A. Weather conditions:

1. Accessory products:

a. Accessory products must be applied within temperature and relative humidity limitations established by the manufacturer.

2. Elastomeric Coating:

a. The ambient air temperature shall be a minimum of 40 degrees F (4 degrees C) and rising at the time of installation of the coating and shall remain above this temperature for at least 24 hours afterward.

b. The ambient air temperature shall be a maximum of 95 degrees F (31 degrees C) at the time of installation of the coating and shall remain below this temperature for at least 24 hours.

c. The relative humidity must be below 90% for application.

B. Protection of Work:

1. Adjacent or incidental surfaces and the coating itself shall be protected from weather and other damage during application and drying.  Longer protection time swill be required during applications at lower temperatures or time of higher humidity.

PART 2 – PRODUCTS

2.01  MATERIALS

A. Waterproof Elastomeric Coating:

1. TeifsLASTIC Waterproof Elastomeric Coating

B. Sealers and Primer:

1. Teifs Prime – tintable latex primer

2. Teifs Quick Cure – clear primer/sealer

2.02  MIXING AND TINTING

A. Elastomeric Waterproof Acrylic Coatings:

1. Use a swift mixer for 5-gallon pails for mixing and tinting.  Avoid the use of high speed shakers when tinting. They can cause excessive air entrainment, affecting waterpoofing performance.

2. Use no more than 2 ox. Per gallon addition of universal tinting colors for addition to any pastel base.

2.03  WARRENTS

A. Warranty:

1. Workmanship provide one year contractor’s warranty on workmanship.

2. Provide minimum 5 years manufacturer’s warranty on materials.

PART 3 – EXECUTION

3.01 SUBSTRATE PREPARATION

A. Remedial work on previously coated substrates.  Prepare surfaces in the sequence listed below:

1. Removal of Algae and Mildew:

a. All mildew and algae must be removed from the substrate using a solution of 1 tablespoon of Tri-sodium Phosphate and 2 pints of liquid bleach in 1 gallon of water (.125 to .25 liters per liter).  Rinse thoroughly with clear water.

2. Glazed or Glossy Surfaces:

a. Dull glossy or glazed surfaces by sanding, wire-brushing or other means to insure adequate adhesion of the Coating.

3. Previously Coated Surfaces:

a. All previously coated surfaces must be pressure cleaned to remove all chalk, dirt, dust, latence, previous coatings with poor adhesion to the substrate, foreign materials, etc.  Allow surfaces to dry thoroughly (minimum 24 hours) prior to application of any sealers, primers or coatings.

4. Repair delaminated, gauged, chipped and spalled areas in the stucco, concrete or masonry with a cementitious patching mortar recommended by Coating manufacturer.

5. Crack Repair:

a. Hairline cracks (up to 1/32” wide): Refer to coating manufacturer directions.  Coating manufacturer’s product must be capable of sealing this size crack with no additional repair.

b. Cracks up to 1/8” wide:

1) All loose material must be removed, crack must be clean and dry.

2) Bridge crack with either Textured Knife Grade, or Brush Grade Latex Patching compound.  Apply approximately ¼” thick directly over the crack, then feather out to a minimum of 4 inches on each side of the crack.

c. Cracks more than 1/8” wide, up to ¼” wide:

1) chip or grind out to a minimum ¼” wide, ¼” deep.

2) All loose material must be removed, crack must be clean and dry.

3) Fill crack with Textured Knife Grade Latex Patching Compound or a recommended latex sealant.

4) Then bridge crack with a final coat of Brush Grade Latex Patching compound.  Apply approximately ¼” thick directly over the crack, then feather out to a minimum 4 inches on each side of the crack.

d. Dynamic or moving cracks, 1/16” to ½” wide:

1) Chip or grind out to make as wide as the depth of the crack, or minimum ¼” wide.

2) All loose material must be removed, crack must be clean and dry.

3) Fill crack with recommended latex sealant.  Tool into joint and allow to cure minimum 24 hours prior to top dressing.

4) Then bridge crack with a final coat Brush Grade Latex Patching Compound.  Apply approximately ¼” thick directly over the crack.  Then feather out to a minimum of 4 inches on each side of the crack.

6. Junction of dissimilar materials:

a. Caulk juncture of dissimilar materials (i.e. stucco to concrete, brick to block, etc.)

1) Caulk with sealant.  Recommended by sealant manufacturer.

2) Allow sealant to cure before application of Brush Grade Latex Patching Compound.

7. Window Caulking:

a. Recaulk all windows and thru wall A/C units frames.

8. Perimeter Joints:

a. Recaulk as required for waterproofing:

1) Caulk with recommend sealant

2) Allow sealant to cure before proceeding.

9. Roof Parapet Cap Seals and Sealant:

a. Inspection:

It is suspected that the parapet caps are leaking into the wall system, thereby causing the gypsum board substrate to deteriorate and become more susceptible to storm damage, etc.

1) All caps shall be removed and both the cap and the top of the wall inspected, and documented as to the problems uncovered.  The cap shall be inspected as to the original type of fasteners and the determination made if they can be modified to use clips to secure.  The Engineer shall be present when this work is accomplished.

2) Ensure that flashing of the parapet covers the exterior wall system and that blowing rain cannot enter wall system.  Install a new parapet cover below the metal cap using a Neoprene or Hypolan material that will flash both the exterior wall and the roofing material by a minimum of three (3) inches.  Seal this material lap on each side liberally with sealant 5200.

3) The parapet caps were installed with nails or screws being placed thru the top of the cap.  These holes will be soldered closed and no nails/screws driven in the top for the new work.  Screws shall be placed on the side of the cap, with liberal marine sealant 5200 used to protect the opening. 

4) Due to the severity of the problem, the Engineer shall inspect and make any determination of changes to the above, during the parapet repair process.  

B. New Construction:  (New Construction does not apply to this project)

1. Stucco:

a. Surface Preparation:

1) Cure newly applied stucco for a minimum of 28 days prior to application of the system.

2) Surface should be free of dirt, dust, etc.

3) Pressure wash all chalky stucco walls, dirty walls or walls accumulated salt from ocean spray.

b. Priming:

1) Apply Teifs Prime Latex Primer, or Teifs Quick Cure at an application rate controlled according to substrate variations to prevent excessive build-up.

2. Concrete Block:

a. Surface Preparation:

1) Concrete block surface should be clean, dry and free of dust, dirt, etc.

2) Remove fins, mortar droppings, and make sure that mortar joints are sound and free of voids and cracks.

3) Face of block should be filled with Teifs recommended block filler or cementitious parge coat.

3. Concrete:  Precast, tilt-up, and poured-in-place:

a. Surface preparation:

1) Cure newly installed concrete for a minimum of 28 days prior to application of the coating.

2) Surfaces should be free of dirt, dust, form release agents, curing compounds, etc.

3) Pressure cleaning may be required on very dirty walls, or walls with accumulated salt from ocean spray.

4) Smooth precast or poured-in-place concrete may require an acid-etching treatment prior to application of the coating.  The following procedure should be used when acid-etching is required.

a) Dampen the concrete surface with clean water.

b) Acid etch the surface with an application of a one solution of 18 degree Baume commercial muriatic acid.  More diluted solutions may be used on concrete with increasing porosity.  Allow this treatment to remain on the surface for a minimum of fifteen minutes.

c) Rinse treated areas thoroughly with clean water.

4. Priming:

a. Apply Prime Latex Primer at an application rate controlled according to substrate variations to prevent excessive build-up.

3.02 INSPECTION OF THE SUBHSTRATE PREPARATION

A. All patch and primer materials shall be allowed to dry or cure for the minimum recommended cure time prior to overall coating with elastomeric coating.  Prior to final overall application of the coating, the substrate shall be inspected for compliance with the contract documents and specifications.  The General Contractor and Engineer shall be advised of all discrepancies.  Work shall not proceed until he unsatisfactory conditions are corrected.

B. Applications of Elastomeric Coating:

1. Brush application:

a. Application with nylon bristle brush for areas which cannot be reached with spray applications or a roller.  These areas shall be cut in first with the brush prior to spray or roller application.  Touching up with a brush over sprayed or rolled applications is not allowed.

2. Spray application:

a. Applications shall be by airless spray equipment or mastic pump and gun allow application of coating at total required application rate with a minimum of stipple or thickness variations.

b. Equipment shall have the capacity to pump minimum of 2 gallons of coating per minute.

c. Material hose should be minimum ½” for spraying coating more than 50 foot length.  Minimum bursting of 800 lbs. is recommended.

d. Tip orifice sizes of .021-.032 may be required depending on equipment used.

e. Cross apply coating holding spray gun perpendicular to and approximately three feet from the surface.  Avoid excessive material build-up by holding spray gun away from the wall when puling the trigger, then bringing gun across area to be coated.  Maintain a wet edge and avoid starting and stopping in the middle of the wall.  Do not attempt to overreach spray pattern as this may result in appearance of irregular spray pattern.  Place scaffolding and equipment to facilitate quick application without numerous interruptions.

f. 10% loss from over spray should be anticipated.

g. Back roll over sprayed areas to control pinholes on spray applications over porous surface.

h. All sprayed applications must be free of pinholes to insure waterproofing performance.

3. Roller Application:

a. Spread the coating from the roller pass in one direction with a wet roller to achieve smooth appearance and uniform film thickness.

b. Achieve a minimum dray film thickness of 10 mils for full warrantee waterproofing protection.  Two 10 mil coat applications are required on the west wall stucco substrate.

C. Inspection:

1. Wet film thickness inspection:

a. Inspect for uniformity of application rate often during application.

2. Dry film thickness inspection:

a. Inspect for pinholes, holiday, and conformance with minimum film thickness requirements.

3. The contractor shall engage the services of a local testing lab to take samples and verify film thickness at 15 locations (varying heights) per phase.

D. Clean-up:

1. Equipment:

a. Clean spray equipment, brushes, roller covers, etc. immediately after use with clean, lukewarm water and rinse thoroughly.  Spray equipment may also be flushed with mineral spirits to minimum downtime.  Keep equipment clean during performance of contract.

2. Spills, over spray: (to be cleaned each day)

a. Clean immediately with lukewarm, soapy water and rinse areas thoroughly.

b. Clean all paint from wall and ground surfaces not intended to be painted.  Clean all windows in and below section painted.

c. Clean paint from vehicles and other items damaged by contractor’s work.

3.03  SUPPLIES

A. Furnish 3-5 gallon cans of Elastomeric paint, for future touch up.

Section 07900 Page 1 of 1

