January 28, 2005

TO:
All Plan Holders

RE:
Oakmont Office Building

The following clarifications are made for drawings.
1. A revised framing plan is enclosed, showing the elevator framing (Drawings F-1 & F-2).

2. The metal 2nd floor decking should be equal to Vulcraft 1.0 C 24 galvanized, with 6 x 6 W 1.4 x W 1.4 WWF.
3. The metal building supplier shall select column sizes, wind bracing required for 130 mph wind.
4. Wind load calculations are attached.

5. The metal frame building construction drawings shall be stamped by a civil engineer, registered in the State of Louisiana

Sincerely,

Emmett G. (Pete) Dammon, P.E.
