December 7, 2004

Mr. Kirk Pichon

City of Slidell

P.O. Box 828

Slidell, Louisiana  70459

RE:
3769 Pontchartrain Drive, Ste 111 (Quiznos)

Dear Mr. Pichon,

In response to your letter dated November 29, 2004, copy attached, please note the following:

1. The contractor shall use GA File No. WP1521 (attached) to accomplish the two-hour rating.

2. The mechanical contractor shall comply.

If you have any further questions, or require any additional information, please feel free to call.

Sincerely,

Chuck Dammon
