December 21, 2004

Mr. William Jensen

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA  70806

RE:
PO285135


Quiznos 6553


6401 Bluebonnet Blvd. FC #007


Baton Rouge, LA  70801

Dear Mr. Jensen,

In reference to your letter dated December 15, 2004, copy attached, please note the following:

Item Nos. 5 & 6:  No modifications will be made to the existing Fire Alarm systems in the Mall of Louisiana.  If an alarm system is required it will be an independent system within the tenant space.

If you have any questions or require any further information, please feel free to call.

Sincerely,

David Dammon/

Project Manager

cc:
Steve Desselles


Operations Manager


Mall of Louisiana


6401 Bluebonnet Blvd.


Baton Rouge, Louisiana  70801
