May 19, 2005
Mr. Kenneth Robichaux

Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, LA  70806

RE:
Question on NEC Article 230/Disconnecting Means
Dear Mr. Robichaux,

First, let me congratulate you on the “Robie Standard” and thanks for the Dix’es.
I have a question regarding NEC Article 230, Part VI - when providing a disconnecting means.  We are replacing a 500 KVA transformer which has a high voltage disconnect, and proposed to use the line up as shown on the attached sketch.  My question is, does this violate the code?

We are actually changing to install a low voltage (208/120 Volt) disconnect on the outside of the building wall, but I need to know if the method shown on the sketch is legal, as I feel that it is.

I appreciate your help with this matter.  If you have any questions, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
