March 6, 2006

Mr. David Champagne

Miramon Construction

1400-B Gause Blvd.

Slidell, LA  70458

RE:
Cross Gates Apartments

Dear Mr. Champagne,

I have reviewed your fax and request dated March 6, 2006 regarding the above referenced project and I hereby approve the following substitution:

Use of Simpson strong tie #TWB12 for wall bracing, 2 16d nails in top and bottom plate & 1 8d per stud.

If you have any questions, or require any further information, please feel free to call.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
La. License No. 8796
