April 24, 2007

To:
Ed Roberts

RE:
Addition to first Pentecostal Church


Robert Blvd.


Slidell, Louisiana

The existing block wall adjacent the new stairway meet the requirements of UL design #U905, providing a 2 hr. rated wall, where the stair requires only 1 hr.

Sincerely,

Emmett G. Dammon, P.E.

Reg. #8796

Attachment:
Design No. U905

