April 10, 2003

Jefferson Parish Permits and Code Enforcement

1221 Elmwood Park Blvd.

Jefferson, Louisiana  70123

RE:
3825 Williams Place


Metairie, Louisiana  70121

To Whom It May Concern:

The above-referenced home is raised with brick veneer.  The contractor will remove the brick veneer prior to raising the home.  The contractor will raise the home approximately 2 feet from the ground.  The home will be lifted using the under side of the ceiling joist.  After the home is raised a new floor system will be installed.  All interior walls will be replaced, and the exterior will be vinyl siding.

We find that this home is structurally sound to make these modifications.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

