1. September 4, 2003

Francis Pessoa

Building Plan Examiner

City of New Orleans

1300 Perdido Street

City Hall – Room 7E06

New Orleans, Louisiana  70112

RE:
Permit No. B-03003532


14701 Chef Menteur Hwy

Dear Ms. Pessoa,

2. In response to your letter dated September 3, 2003, copy attached, regarding the above referenced project, please note the following:

ARCHITECTURAL:

1. $35.00 re-review fee to be paid by owner.

2. ELECTRICAL:

3. Electrical plan has been stamped with a LA registered Electrical Engineer per requirement.

4. Drawings have been revised to reflect wiring per NEC 1996 edition.

5. Correction:

Electrical work done under this permit is less than $15,000.00 dollars - an Electrical estimate of this job will be provided by the owner from an electrician who is licensed with the City of New Orleans [CLAS – A license New Orleans Amendments to the Standard Building Code, 1997 Ed. Section 2703 page 26.]

If you have any questions, or require any further information, please feel free to call.

Sincerely,

3. Chuck Dammon/Project Manager

