DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

May 14, 2010

Robert Sollberger

150 Chamale Dr.

      Slidell, La. 70460

RE:
Canal Street Hotel


   
1650 Canal St.


    
New Orleans, Louisiana
Dear Mr. Sollberger,

Per your request, we have calculated the necessary square footage of panels to be removed from the Atrium roof of the referenced hotel, per the sketches that you provided.  
There are twenty 4’x7’ openings at the rear of the building that equal 560 s.f.  The atrium has a total of 1,984 s.f. of vertical panels. The total s.f. of vertical panels that shall be removed is 1,120 s.f. This will leave 864 s.f. of vertical panels on the structure.

If you have any questions, or require any additional information, please feel free to call.
Sincerely,
 
Emmett Dammon, P.E.
