December 28, 2006

Mr. Glen Pichon

700 Dewey

Slidell, LA  70458

RE:
700 Dewey/Letter from John Cramer

City of Slidell

Dear Mr. Pichon,

In response to John Cramer’s inspection of the above referenced property on December 21, 2006, please note the following:

1. Contractor shall complete fireplace.

2. Contractor shall complete fireblocking.

3. Laminated beam at balcony appears to comply.

4. Laminated beam in garage appears to comply.

5. Contractor shall comply with strapping requirements.

6. Contractor shall comply with holdowns.

7. 2x8 rafters that are installed comply.

8. Rafter spacing complies.

9. Contractor shall correct stairs to meet code requirements.

10. Laminated beam above bay window appears to comply.

11. Contractor shall correct riser height on steps in garage to meet code.

12. Contractor shall comply and correct missing straps at gable endwall studs.

13. Contractor shall comply with 1 1/2” bearing at ceiling joist.

14. Contacted Sid Montelino with Simpson Strong Tie.  Sid approves of the installation of the straps used at rafter to top plate.

If you have any questions, or require any additional information, please feel free to call.

Sincerely,

Chuck Dammon

