February 8, 2007

ICC Membership Services

900 Montclair Rd.

Birmingham, AL  35213

RE:
Membership #5295994

To Whom It May Concern:

A client owns a piece of property that has several condos on it and a restaurant.  He is presently going through the political process of having the property sub divided so that the restaurant is on separate property from the condos that he intends to sell.

At one point the restaurant wall is 9.97 feet from the new property line and the closest condo is 5.26 feet from the property line that divides them.  The distance between buildings is at one point less than 15 feet.

Both buildings were built at least 20 years ago, to the codes that were applicable at the time.

The question is, with the new lot line being developed between the two buildings, are they now subject to the new International Code with the change in distances, percent of glass coverage allowed, etc.?  If not, is there code liability if the owner sells either one of the two?

Emmett G. Dammon/President
Dammon Engineering, Inc.

Membership #5295994

1095 Florida Ave.

Slidell, Louisiana  70458

985-649-5832

dammoneng@bellsouth.net
RE: 

SBC 1997 & IBC 2003

Section:
Firewalls

