DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 1, 2011
Mr. Charles Alexander
Mr. Donald Poucher
Hangar #9 
Slidell Airport

Re:
Your Aircraft Hangar at Slidell Airport

Dear Sirs,

Attached please find the requested information for your hangar that was constructed in 1989.  I have used the RS Means Estimating Handbook, and prices from local contractors, to provide you with the cost to duplicate the building in today’s (2011) market, and the referenced estimating information to derive the probable cost to building the hangar in 1989.
Using the figures shown in the estimate and the escalation factors during the last 22 years, it becomes obvious that the cost to build your facility in 1989, using a General Contractor, was approximately $76,011.00, and the replacement cost in 2011 is $120,699.00.
If I can be of further assistance in this matter, please call me.

Sincerely,

Emmett G. (Pete) Dammon, P.E.
DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 01, 2011

COST ANALYSIS

HANGAR #09

MR. CHARLES ALEXANDER

MR. DONALD POUCHER

SLIDELL AIRPORT

Hangar Size:
50x40x12H

Year Built
1989

Total S.F.
2,000

Included Areas:

1. Shop

2. Toilet

Exterior:

Ramp Size

2,945 s.f.

Other:

1. Hangar door 12x50 (manual sliding)

This building was constructed in 1989.  The ground required mucking out and filling, prior to slab and ramp construction.

The basic building is a pre-engineered metal building, with interior build out for the toilet.

The building slab and the ramp are concrete (approximately 7.5” thick) with grade beams.  Preparation for slab required approximately 610 yds3 of fill dirt and compacting.  The slab required approximately 53 yds3 of concrete and the 31’ x 60’ ramp, approximately 42 yds3 of concrete.
COST ESTIMATE

Hangar #9

The following estimated costs are based on RS Means “Building Construction Cost Data (2011)” and actual building cost supplied by local contractors.

ITEM

  
           SIZE

           UNIT COST
           TOTAL COST

1. Metal building & toilet
2,000 s.f.

$20/s.f.

     $40,000.00

2. Labor to erect

2,000 s.f.

5.50/s.f.

       11,000.00

3. Bldg. slab (7.5” L&M)
53yd3


$150/yd3

         7,950.00

4. Approach slab (6.0”)
42 yd3


$150/yd3

         6,300.00

5. Muck & Haul

610 yd3

$10/yd3

         6,100.00

6. Fill & Compact

610 yd3

$15/yd3

         9,165.00

7. Culvert (installed)

35 ft.


LOT


            600.00

8. Plumbing





LOT


         3,700.00
9. Hangar door (installed)



-----


         4,200.00

10. Elect. power & lights
2,000s.f.

5.00/s.f

        10,000.00
     $99,015.00

15% Contingency, OH&P
       14,852.00
Subtotal


   $113,867.00

Taxes, permits, etc. (6%)
         6,832.00
Total:


    $120,699.00

Reviewing the Cost Increases of Material and Labor, since building was built

1.  Materials of Construction

According to the “U.S. Bureau of Labor Statistics,” “Producer Price Indexes,” starting in 1989 through the year 2010, the cost of materials used in construction has risen approximately 125%.  Adjusting for 2010 & 2011 the rise is estimated to be 12.5%, with a total of 137.5% for the time since the building was erected.

2. Total Construction Cost (Labor & Material)

The RLB Construction Cost Escalation shows the increase in construction cost (labor and material) from 1990 through 2011 as 158%.

The above percentages of #1 & #2 pretty well agree with each other, remembering that Item #1, is % materials increase per year only, neither including the cost of permits, taxes etc.  Therefore, it is fair to estimate that construction cost has escalated more than 140% from the cost associated with construction of this building, in 1989. 
The replacement value of the building is then estimated to be $120,699.00, or $60.00 per s.f.  This is with toilet and plain unfinished materials, where not factory finished, on the interior, and includes the exterior ramp.
The calculated cost to construct the hangar in 1989 is $76,011.00, including labor and material
References:

1.  RLB Construction Cost Escalation (attached)

2. Bureau of Labor Statistics “Production Price Indexes.”

3. RS Means Construction “Cost Estimating Handbook” (2010/2011).

________________________

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796
