DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS

554 Old Spanish Trail



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

February 23, 2011

COST ANALYSIS

HANGAR #10

MR. HENRY SCHROEDER

SLIDELL AIRPORT

Hangar Size:
60x45x14x1

Year Built
1991

Total S.F.
2,760

Included Areas:

1. Office (15x23)
345 s.f.

2. Bath

None

3. Mezzanine

600 s.f.

Exterior:

Ramp Size

600 s.f.

Other:

1. Hangar door 12x50 Bifold w/lights (windows – 2 per panel)

This building was constructed circa 1991.  The ground required mucking out and filling, prior to slab and ramp construction.

The basic building is a pre-engineered metal building, with interior build outs for the office and mezzanine being constructed with wood frame and gypsum board.

The hangar door is 12’x50’ with lights (windows) in door.

The building slab and the ramp are concrete (approximately 6” thick) with grade beams.

The following estimated costs are based on RS Means “Building Construction Cost Data (2010)” and actual building cost supplied by local contractors.

COST ESTIMATE

ITEM

  
           SIZE

           UNIT COST

           TOTAL COST

1. Metal building

2,700 s.f.

$19/s.f.


     $51,300.00

2. Labor to erect

2,700 s.f.

5.50/s.f.


       14,850.00

3. Bldg. slab (6” L&M)
2,700 s.f.

12/s.f.



       32,400.00

4. Approach slab (6”)
600 s.f.


10/s.f.



         6,000.00

5. Muck & fill (compact)
244 yd3

12/yd3



         2,928.00
6. Build outs

a. Office w/ceiling, etc.
345 s.f.


10/s.f.



         3,450.00

7. Hangar door (elect)




w/lights


600 s.f.


-------



         3,500.00

8. Elect. power & lights
3,300s.f.

4.25/s.f.


       14,025.00

9. Mezzanine


600 s.f.


10.50/s.f.


         6,300.00

   $134,753.00

10% Contingency

     $13,475.30
Total:



   $148,228.30

Reviewing the Cost Increases of Material and Labor, since building was built

1.  Materials of Construction

According to the “U.S. Bureau of Labor Statistics,” “Producer Price Indexes,” starting in 1990 through the year 2009, the cost of materials used in construction has risen 124%.  Adjusting for 2010 & 2011 the rise is estimated to be 12.5%, with a total of 136.5% for the time since the building was erected.

2. Total Construction Cost (Labor & Material)

The RLB Construction Cost Escalation (attached) shows the increase in construction cost (labor and material) from 1990 through 2011.  From 1990 through 2011, construction cost escalated 158%.

The above percentages of #1 & #2 pretty well agree with each other, remembering that Item #1, is % materials increase per year only, neither including the cost of permits, etc.  Therefore, it is fair to estimate that construction cost has escalated more than 140% from the cost associated with construction of this building, circa 1991.

The replacement value of the building is then estimated to be $146,743, or $53.00 per s.f.  This is with no toilet and plain unfinished materials, where not factory finished, on the interior.

References:
1.  RLB Construction Cost Escalation (attached)

2. Bureau of Labor Statistics “Production Price Indexes.”

3. RS Means Construction “Cost Estimating Handbook” (2010).

________________________

Emmett G. (Pete) Dammon, P.E.

La. License No. 8796
