DAMMON ENGINEERING, INC.
dammonengineering.com
ARCHITECTS




ENGINEERS


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS

1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

January 4, 2010
Ms. Angelina Barela

Royal Pacific Ltd.

4931 Paseo Del Norte NE

Albuquerque, NM  87113

Dear Ms. Barela,

Per our conversation in December, please find the socket and trim form the fixture that we discussed.  I am not including the fixture housing that has Royal Pacific #8575CL on it.  It is not scorched or burned.

I have also included a copy of the correspondence to the church where the fixture was installed.

Please try to come up with a reason as to what caused this.  Are the other fixtures in danger of causing a fire?

Sincerely,

Emmett G. Dammon, PE

