GULF COAST ELECTRIC CO., LLC

554 Old Spanish Trail

Slidell, Louisiana, 70458

985-290-3888/ Fax 985-641-5950

Email: gulfcoastelect@bellsouth.net

Louisiana License # 46737

#### APPLICATIONS					$80.00 each plus shipping

For accenting architecture or lighting landscape areas

#### TYPICAL MOUNTING HEIGHT

8 to 15 feet

| Catalog Number | E-GL1F03N2W |
| --- | --- |
| Description | 38W LED Neutral white |
| Height | 8-1/2-in |
| Width | 6-1/2-in |
| Depth | 7-3/4-in |
| Weight (.lbs) | 6.20 |
| Input Voltage | 120V-277V |
| Delivered Lumen Output | 2000 Delivered Lumens |
| Beam Angle/Photometric Distribution | 40˚ Flood |
| CCT | 4100K |
| Comparable To | 70W PSMH |
| Lamp Type | 38-Watt LED |
| Color Rendition | 74 CRI |
| Minimum Starting Temperature | -40° F |

#### Accessories

There are no accessories for this product.

#### What's Included

1/2" NPS adjustable fitter included