	[image: image1.png]



	Change Order 3
           SCENARIO TWO

	GULF COAST ELECTRIC CO. LLC
Serving the Gulf Coast
	

	554 Old Spanish Trail, SLIDELL, LA 70458
Phone 985-649-5832 Fax 985-641-5950
gulfcoastelect@bellsouth.net
	      LA License 46737


	to
	Gill Breaux
Commercial Project Manager

Robert Wolf Construction

504-393-2445


	RE: Bippo’s Place Of Smiles
      2960 Gause Blvd
      Slidell, La 

	DATE
	job Description
	Location

	01/30/14
	1ph Power 
	  Slidell, La


	item 
	
	description
	
	
	line total

	1
	
	Provide a new main breaker Panel with sub breakers and connect to existing service. Provide service and disconnects to the additional heating and air conditioner.
	
	
	

	2
	
	
	
	
	

	3
	
	
	Sub Total
	
	$7,386.00

	4
	
	
	
	
	

	5
	
	
	
	
	

	6
	
	
	
	
	

	7
	
	
	
	
	

	8
	
	
	
	
	

	9
	
	
	
	
	

	10
	
	
	
	
	

	11
	
	
	
	
	

	12
	
	
	
	
	

	
	 
	


       RECOMMENDED: Utilize existing 600A service and lower all new heating to 10KW.
     Eliminate the 7 ½ Ton A/C and replace with one 4 Ton and one 3 ½ Ton A/C.
     Increase the capacity of the new panel.






