	[image: image1.png]



	PURCHASE ORDER

	GULF COAST ELECTRIC CO. LLC
Serving the Gulf Coast
	

	554 Old Spanish Trail, SLIDELL, LA 70458
Phone 985-649-5832 Fax 985-641-5950
gulfcoastelect@bellsouth.net
	


	to
	Tod Robinson
Nu-lite Electric

Slidell, La
	RE: Pearl River Fire Suppresion


	DATE
	qUOte#
	Location

	07/11/12
	31563804  S3241194
	Town of Pearl River


	item 
	
	description
	
	QTY
	line total

	1
	
	Mini Power-Zone 10KVA 480V -120/240V
	MPZ10S40F
	1
	

	2
	MAIN DISC
	Fusible HD Switch 600V 3P 3R 
	H366NR
	1
	

	3
	HEATER DISC
	Fusible HD Switch 600V 3P 30A
	H3661N
	1
	

	4
	CB1,CB2,CB3
	Circuit Breaker enclosure 3R
	J250S
	3
	

	5
	
	Circuit Breaker 600V 50A 3PH
	HGL26050
	1
	

	6
	
	Circuit Breaker 600V 30A 3PH
	HGL26030
	2
	

	7
	J-BOX
	N1 HINGED COVER
	12X12X8’
	1
	

	8
	J-BOX
	TYPE 4X SS TYPE304
	12X10X6
	1
	

	9
	A
	LIGHT FIXTURES
	TDMW-232MYOCTGEB10IS
	4
	

	10
	D
	LIGHT FIXTURES
	MPWP-GL-150-120-LL-AP-PE+WG/WPGL
	3
	

	11
	E
	EMERGENCY LIGHT FIXTURES
	ELM2
	1
	

	12
	X1
	EXIT LIGHT FIXTURES
	LQMSW3G120/277 M6
	1
	

	
	
	
	
	

	
	
	

	Accepted by:
	
	

	Date:
	
	

	
	
	


Thank you for your business!







