1
Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Copper Bus, 10k AIC,225A, 3P EDB Main Breaker[Top Fed], 225A, Through-Feed Lugs, Surface Mounted
Designations: 
1L-SEC1



1
Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Copper Bus, 10k AIC,225A, Main Lugs Only[Top Fed], Surface Mounted
Designations: 
1L-SEC2



1
Pow-R-Line3a
42 Circuits, 400A, Fully Rated, 480Y/277V  3Ph  4W, Copper Bus, 25k AIC,400A,  KD 3P Main Breaker[Top Fed], Surface Mounted
Designations: 
1H



1
Pow-R-Line1a
42 Circuits, 400A, Fully Rated, 208Y/120V  3Ph  4W, Copper Bus, 10k AIC,400A, 3P DK Main Breaker[Top Fed], 400A, Through-Feed Lugs, Surface Mounted
Designations: 
2L-SEC1



1
Pow-R-Line1a
42 Circuits, 400A, Fully Rated, 208Y/120V  3Ph  4W, Copper Bus, 10k AIC,400A, Main Lugs Only[Top Fed], 400A, Through-Feed Lugs, Surface Mounted
Designations: 
2L-SEC2



1
Pow-R-Line1a
42 Circuits, 400A, Fully Rated, 208Y/120V  3Ph  4W, Copper Bus, 10k AIC,400A, Main Lugs Only[Top Fed], Surface Mounted
Designations: 
2L-SEC3



1
Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 208Y/120V  3Ph  4W, Copper Bus, 10k AIC,225A, 3P EDB Main Breaker[Top Fed], Flush Mounted
Designations: 
K



1
Pow-R-Line3a
42 Circuits, 400A, Fully Rated, 480Y/277V  3Ph  4W, Copper Bus, 25k AIC,400A,  KD 3P Main Breaker[Top Fed], Surface Mounted
Designations: 
2H



1
Pow-R-Line2a
42 Circuits, 225A, Fully Rated, 480Y/277V  3Ph  4W, Copper Bus, 14k AIC,225A, 3P FD Main Breaker[Top Fed], 150A, FDB  Sub-Feed Breaker, Surface Mounted
Designations: 
2HAC



1
Safety Switches
DH324NGK,
BE31B, 240 VAC, 200 Amps, 3-Pole, Fusible with Neutral, NEMA 1 Enclosure 
Designations: 
SW-K



1
Safety Switches
DH364UGK,
BE31B, 600 VAC, 200 Amps, 3-Pole, Non-Fusible with No Neutral, NEMA 1 Enclosure 
Designations: 
SW-200A/SE



2
Safety Switches
DH364NGK,
BE31B, 600 VAC, 200 Amps, 3-Pole, Fusible with Neutral, NEMA 1 Enclosure 
Designations: 




4
Safety Switches
DH361FRK,
BE31A, 600 VAC, 30 Amps, 3-Pole, Fusible with No Neutral, NEMA 3R Enclosure 
Designations: 




1
Safety Switches
DH361URK,
BE31A, 600 VAC, 30 Amps, 3-Pole, Non-Fusible with No Neutral, NEMA 3R Enclosure 
Designations: 




2
Safety Switches
DH361FGK,
BE31A, 600 VAC, 30 Amps, 3-Pole, Fusible with No Neutral, NEMA 1 Enclosure 
Designations: 




3
Safety Switches
DH262UGK,
BE31A, 600 VAC, 60 Amps, 2-Pole, Non-Fusible with No Neutral, NEMA 1 Enclosure 
Designations: 





Total Quote Price:
$11,701.78
FUSES ARE  INCLUDED

TVSS / SPD ARE NOT INCLUDED

HIGH EFFICIENCY TRANSFORMERS ARE NOT INCLUDED

All orders must be released for manufacture within 90 days of date of order entry.  If approval drawings are required, drawings must be returned approved for release within 60 days of mailing.  If drawings are not returned accordingly, and/or if shipment is delayed for any reason, the price of the order will increase by 1.0% per month or fraction there of for the time the shipment is delayed.





"The contents of this e-mail are privileged and confidential and is intended for the addressee(s) only. Unauthorized use is prohibited. If you are not the intended recipient, please notify the sender immediately."
