not approved lighting 48,800.00
 

gear

1
Dry Type Transformer
Standard Transformer Catalog Number:  T20P11S25NV
Transformer Type: General Purpose Vented
1 PHASE, 25 KVA, 240 X 480 Primary Volts, 120/240 Secondary Volts, 
150C Temperature Rise, Aluminum Winding Material, TENV NEMA 3R Enclosure Type, 60 HZ,
Frame 818N, Wiring Diagram 3XA
Standard Values
     K-Factor: 1
     TAPS: 1@+5%, 2@-5% X 2@+2.5%, 4@-2.5%
     Sound Reduction: 0
     NEMA ST20 Sound Level: 50
     Electrostatic Shields: N
     Double Neutral: N
     Stainless Steel Enclosure: N
     Fungus Protection: N
     Nema TP-1 Energy Efficient: N
     Nema ST-20 Sound Level Test: N
     Certified Test Report: N
     CE Marked: N
     CSA Marked: N
     Easy Install Option: N
     Thermal Indicator Embedded in Coils: None


Field-Installed Accessories
     Lug Kit: Not Included

Designations: 




1
u5796
Catalog Number: 
 
Designations: 
u5796-x-400-cb-bl



1
Pow-R-Line3a
12 Circuits, 400A, Fully Rated, 600V       3Ph  3W, Copper Bus, 18k AIC,400A,  KD 3P Main Breaker[Top Fed], Surface Mounted


1
400A,  KD 3P Main Breaker

1
60A, 3P HFD Branch Breaker

2
40A, 3P HFD Branch Breaker

1
100A, 3P HFD Branch Breaker

1
Copper Main Bus, 400 Amps

1
Std. Bolted Al Ground Bar (Al/Cu Cable)

1
Panel Nameplate - White with Black Letters

1
Type 3R Enclosure:LWPQ2048
Designations: 
dp-1



1
Pow-R-Line1a
42 Circuits, 100A, Fully Rated, 120/240V   1Ph  3W, Copper Bus, 10k AIC,100A, 2P BAB Main Breaker[Top Fed], Surface Mounted


1
100A, 2P BAB Main Breaker

18
1P BAB Branch Provision Only

24
20A, 1P BAB Branch Breaker

1
Copper Main Bus, 100 Amps

1
Std. Bolted Al Ground Bar (Al/Cu Cable)

1
Panel Nameplate - White with Black Letters

1
Type 3R Enclosure:LWPQ2042
Designations: 
pp-1



1
Pow-R-Line1a
42 Circuits, 225A, Fully Rated, 120/240V   1Ph  3W, Copper Bus, 10k AIC,225A, ED Main Breaker[Top Fed], Surface Mounted


1
225A, ED Main Breaker

3
60A, 2P BAB Branch Breaker

1
40A, 2P BAB Branch Breaker

1
50A, 2P BAB Branch Breaker

26
20A, 1P BAB Branch Breaker

3
70A, 2P BAB Branch Breaker

1
Copper Main Bus, 225 Amps

1
Std. Bolted Al Ground Bar (Al/Cu Cable)

1
Panel Nameplate - White with Black Letters

1
Type 12 Enclosure:LWPQ2048
Designations: 
pp-2



1
Pow-R-Line1a
42 Circuits, 100A, Fully Rated, 120/240V   1Ph  3W, Copper Bus, 10k AIC,100A, 2P BAB Main Breaker[Top Fed], Surface Mounted


1
100A, 2P BAB Main Breaker

1
60A, 2P BAB Branch Breaker

30
1P BAB Branch Provision Only

10
20A, 1P BAB Branch Breaker

1
Copper Main Bus, 100 Amps

1
Std. Bolted Al Ground Bar (Al/Cu Cable)

1
Panel Nameplate - White with Black Letters

1
Type 3R Enclosure:LWPQ2042
Designations: 
pp-3



1
Safety Switches
DH363URK,
BE31A, 600 VAC, 100 Amps, 3-Pole, Non-Fusible with No Neutral, NEMA 3R Enclosure 


1
Heavy Duty Switch - Non-Fusible, 3-Pole, 600 VAC, 100 A, NEMA 3R (DH363URK)

 
Designations: 
100a



1
C-H Ventilated Transformers
Catalog Number: T20P11S37EE
37.5 kVA Vent Transformer 1PH, NEMA TP-1 , 240X480 - 120/240
Designations: 




1
Safety Switches - Heavy Duty
Catalog Number: DH362URK
60A/3P HD Non-Fusible Safety Switch 600V Nema 3R
Designations: 




1
C-H Ventilated Transformers
Catalog Number: T20P11S15NV
15 KVA NON-VENT'D TX 1PH 240X480-120/240 115C RISE
Designations: 





Total Quote Price:
$12,849.10

Fuses included

All orders must be released for manufacture within 90 days of date of order entry.  If approval drawings are required, drawings must be returned approved for release within 60 days of mailing.  If drawings are not returned accordingly, and/or if shipment is delayed for any reason, the price of the order will increase by 1.0% per month or fraction there of for the time the shipment is delayed.
 



"The contents of this e-mail are privileged and confidential and is intended for the addressee(s) only. Unauthorized use is prohibited. If you are not the intended recipient, please notify the sender immediately."
