Sun Valley Apartments Phase 2

Addendum 1 

Add GFI receptacles to exterior of building with in 25 ft of each outside A/C unit.

Add GFI receptacles to exterior of building near the entrance of each apartment.

Add smoke detectors to each bedroom.

